## Notes
This file provides a comparison of UDI data elements according to the various UDI databases as well as the necessary weblinks to access the latest description of individual data element characteristics and definitions per the governing regulatory agency
One Sheet (IMDRF-2013 UDID CDE) includes the list of data elements recommended by the IMDRF UDI Guide in 2013 (IMDRF/WG/N7Final:2013)
The sheet called "Comparison-Data Elements" provides a side-by-side view of data element names and database requirements by the IMDRF UDI Guide in 2013 and the participating jurisdictions. The reader should note that, per each participating jurisdiction, under "SOURCE", a weblink is provided which allows the user to access the latest description of individual data element characteristics and definitions per the governing regulatory agency.
Key to the Comparison-Data Elements tab and to be used in the Database Required columns
| R | The data element is REQUIRED for submissions to that UDI database.
| C | The data element is CONDITIONALLY REQUIRED for submissions to that UDI database. See the individual tab for that UDI database for a conditions under which this element must be provided.
| O | The data element is OPTIONAL for submissions to that UDI database.
| A | The data element is AUTO-POPULATED in the UDI database based on another attribute which has been provided.
| -- | The data element is not recognized by that UDI database and should not be included in submissions.
A red highlighted cell indicates that changes to this data element are not allowed; a new Device Identifier is required.

## IMDRF-2013 UDID CDE
Source | Data Element | Description | Required in Database? | Data Type & Length | Entry List of Values (LOV) | New DI Trigger
IMDRF | UDI Type | Globally accepted ISO/IEC coding standards implemented by global organizations, such as GS1, HIBCC and ICCBBA, meet the criteria of the UDI and manufacturers shall be permitted to choose which system to use. These organizations have responsibility for maintaining the global uniqueness of their coding systems. It is imperative that these coding systems be adopted and implemented, without national deviations or changes to these global coding systems; proliferation of coding systems must be discouraged | Required
IMDRF | UDI-DI | The UDI-DI is a unique numeric or alphanumeric code specific to a model of medical device and that is also used as the "access key" to information stored in a UDID. Examples of the UDI-DI include GS1 GTIN (Global Trade Item Number), HIBC-LIC (Labeler Identification Code), ISBT 128-PPIC (Processor Product Identification Code). | Required
IMDRF | Quantity per Package |  | Required |  |  | yes
IMDRF | Package Type | e.g. each , shelf pack | Required
IMDRF | Manufacturer’s name |  | if applicable
IMDRF | Manufacturer’s address |  | if applicable
IMDRF | Manufacturer's customer Service contact | (country/region specific, could be multiple);(If applicable) | if applicable
IMDRF | Authorized Representative name | regional representatives responsible for the medical device) (country/region specific, could be multiple) (if required by the local/regional regulatory authority) (see GHTF/SG1/N55:2009);
IMDRF | Authorized Representative contact information | country specific, could be multiple
IMDRF | Brand Name |  |  |  |  | yes
IMDRF | Device model or version |  |  |  |  | yes
IMDRF | Reference and/or catalogue number |  | if applicable
IMDRF | Additional product Description | Additional clinically relevant information, e.g. radio-opaque;
IMDRF | Date of discontinuance | referring to devices no longer placed on the market | if applicable
IMDRF | Direct Part Marking
IMDRF | DPM same as Primary DI?
IMDRF | Direct Part Marking DI
IMDRF | Additional Device Identifiers IA
IMDRF | Additional Device ID
IMDRF | Package DI
IMDRF | Authorized representative contact phone
IMDRF | Authorized representative contact email
IMDRF | License and/or marketing authorization or registration number
IMDRF | Global Medical Device Nomenclature (GMDN) preferred code/term
IMDRF | How the device is controlled | serial, lot/batch number, and/or expiration date (or manufacturing date) or software version or software released date or ISBT-128 – check boxes | if applicable
IMDRF | Clinical Size | including Volume, Length, Gauge, Diameter (e.g. 8F catheter) |  |  |  | yes
IMDRF | Storage & Handling Conditions | 16. Storage conditions, as labeled or in the IFU (if applicable) – to include temperature range, needs to be refrigerated, relative humidity range, pressure range, avoid direct sunlight; 17. Handling conditions (if different than storage conditions), on the label or in the IFU (if applicable) – to include temperature range, needs to be refrigerated, relative humidity range, pressure range, avoid direct sunlight;
| Labeled as single use? (Yes/No) |  |  |  |  | yes
IMDRF | Packaged sterile? (Yes/No) |  |  |  |  | yes
IMDRF | Need for sterilization before use? (Yes/No) | 1. if yes, then the method of sterilization should be indicated;
IMDRF | method of sterilization
IMDRF | Configurable medical device systems
IMDRF | Critical warnings or contraindications | a. [e.g.: Labeled as containing latex? (Yes/No), |  |  |  | yes
IMDRF | Critical warnings or contraindications | b. Labeled as containing DEHP? (Yes/No) |  |  |  | yes
IMDRF | Critical warnings or contraindications | c. Labeled as MRI compatible? (Yes/No).] |  |  |  | yes
IMDRF | Software Release Date | Flag to indicate whether the device has a software release date available on the label.
IMDRF | URL for additional information | URL for additional information, e.g. electronic IFU (optional); | optional
IMDRF | restricted number of reuses |  | if applicable
IMDRF | SAMD Version

## Comparison-Data Elements
Jurisdiction | IMDRF |  |  | European Union |  | United States
Source | IMDRF/UDI WG/N7FINAL:2013 Section 9.2 |  |  | http://ec.europa.eu/growth/sectors/medical-devices/new-regulations/guidance_en |  | https://www.fda.gov/MedicalDevices/DeviceRegulationandGuidance/UniqueDeviceIdentification/GlobalUDIDatabaseGUDID/ucm416106.htm
Date revised |  |  |  | 2019-02-18 |  | 2019-02-18
| Data Element # | Data Element | UDID Requirement | Data Element | EUDAMED Requirement | Data Element | GUDID Requirement
Device Identification & Description | -- | -- | -- | Basic UDI-DI | R | -- | --
| 1 | UDI-DI (UDI type, e.g. GS1 GTIN, HIBC-LIC, ISBT-128 PPIC) | R | UDI-DI | R | Primary DI Number | R
|  |  |  | Issuing Entity (UDI-DI) | R | Issuing Agency | R
|  |  |  | Isuing Entity (Basic UDI-DI) | R | -- | --
| -- | -- | -- | Single Registration Number | R | -- | --
| 9 | Brand Name | C | Name or Trade name (name of product) | R | Brand Name | R
| 11 | Device model or version | R | Name or, if applicable, device model that identifies the BASIC UDI-DI Group in the technical documentation and/or certificate and declaration of conformity | R | Version or Model | R
| 12 | Reference and/or catalogue number | C | Reference, article or catalogue number | R | Catalog Number | O
| 15 | Additional product Description (optional) – Additional clinically relevant information, e.g. radio-opaque | O | Additional product Description | O | Device Description | O
| -- | -- | -- | Direct Marking (DM) DI | R | DM DI Different from Primary DI | C
| -- | -- | -- | -- | -- | DM DI Number | C
| -- | -- | -- | Issuing Entity (Secondary DI) | C | Issuing Agency (Secondary DI) | O
| 1 | Additional device identifier(s) (if applicable) e.g. GS1, HIBC, or ISBT-128 | C | Secondary UDI-DI | C | Secondary DI Number | O
| -- | -- | -- | -- | -- | Issuing Agency (Previous DI) | O
| -- | -- | -- | -- | -- | Previous DI Number | O
| 2 | Unit of Use UDI-DI | R | Unit of Use (UoU) UDI-DI | C | Unit of Use DI Number | C
| -- | -- | -- | Quantity of devices | R | Device Count | R
| -- | -- | -- | Additional Trade Names | C | -- | --
Contact Information | -- | -- | -- | -- | -- | Labeler DUNS Number | R
| 3 | Manufacturer’s name | C | Name of Manufacturer | A | Company Name | A
| 4 | Manufacturer’s address | C | Address of Manufacturer | A | Company Physical Address | A
| 5 | Manufacturer's customer service contact information (country/region specific, could be multiple) | C | -- |  | -- | --
|  |  |  | Authorized representative's Single Registration Number | C | -- | --
| 6 | Authorized Representative's name (regional representatives responsible for the medical device) (country/region specific, could be multiple) (if required by the local/regional regulatory authority) (see GHTF/SG1/N55:2009) | R | Authorized representative's name | A | -- | --
| 7 | Authorized Representative's contact information (country specific, could be multiple) | R | Authorized representative's address | A | -- | --
| 23 | URL for additional information, e.g. electronic IFU | O | URL for additional information, e.g. electronic IFU | O | -- | --
| -- | -- | -- | Name, address and contact datails of the legal or natural person | C | -- | --
| -- | -- | -- | -- | -- | Customer Contact Phone | C
| -- | -- | -- | -- | -- | Customer Contact Email | C
Device Packaging & Status | -- | -- | -- | Status of the device | R | -- | --
| -- | -- | -- | -- | -- | DI Record Publish Date | R
| 25 | Date of discontinuance (referring to devices no longer placed on the market) | R | -- | -- | Commercial Distribution End Date | O
| -- | -- | -- | -- | -- | Commercial Distribution Status | A
| -- | -- | -- | -- | -- | Device Subject to Direct Marking (DM), but Exempt | C
| 1 | Quantity per package configuration: (e.g. each, 10 each, 5 shelf packs) | R | -- | -- | -- | --
| -- | -- | -- | Quantity per package | C | Quantity Per Package | C
| -- | -- | -- | -- | -- | Package Type | O
| -- | -- | -- | -- | -- | Package DI Number | C
| -- | -- | -- | Package Status | C | Package Status | A
| -- | -- | -- | -- | -- | Package Discontinue Date | C
| -- | -- | -- | Contains DI Package | C | Contains DI Package | C
Device Characteristics | 13 | How the device is controlled: serial, lot/batch number, and/or expiration date (or manufacturing date) or software version or software released date or ISBT-128 | C | Manner in which production of the device is controlled (expiry date or manufacturing date, lot number, serial number, software identification,) - Type of UDI-PI | R | Lot or Batch Number (Production Identifier(s) in UDI) | R
[6 empty] | Manufacturing Date (Production Identifier(s) in UDI) | R
[6 empty] | Serial Number (Production Identifier(s) in UDI) | R
[6 empty] | Expiration Date (Production Identifier(s) in UDI) | R
[6 empty] | Donation Identification Number (Production Identifier(s) in UDI) | R
| 14 | Clinical Size (including Volume, Length, Gauge, Diameter) | C | Clinical size | C | Clinical Size Type | C
[6 empty] | Clinical Size Value | C
[6 empty] | Clinical Size Unit of Measure | C
[6 empty] | Clinical Size Type Text | C
| 16 | Storage conditions, as labeled or in the IFU (if applicable) – to include temperature range, needs to be refrigerated, relative humidity range, pressure range, avoid direct sunlight; | C | Storage & Handling Conditions | C | Storage and Handling Type | O
| 17 | Handling conditions (if different than storage conditions), on the label or in the IFU (if applicable) – to include temperature range, needs to be refrigerated, relative humidity range, pressure range, avoid direct sunlight; | C |  |  | Low Value (Storage and Handling) | C
[6 empty] | High Value (Storage and Handling) | C
[6 empty] | Unit of Measure (Storage and Handling) | C
[6 empty] | Special Storage Conditions | C
| 18 | Labeled as single use? (Yes/No) | R | Labeled as single use | R | For single-use | R
| -- | -- | -- | Maximum number of reuses | C | -- | --
| -- | -- | -- | Reprocessed single-use device | R | -- | --
| 19 | Packaged sterile? (Yes/No) | R | Device labeled sterile | R | Device Packaged as Sterile | R
| 20 | Need for sterilization before use? (Yes/No) – if yes, then the method of sterilization should be indicated | R | Need for sterilization before use? (Yes/No) | R | Requires Sterilization Prior to Use | R
| 20 | Method of sterilization | C | -- | -- | Sterilization Method | C
| 24 | Critical warnings or contraindications (as labeled) – if a particular regulation requires that the label of the device contains a critical warning or contraindication associated with the use of the device | R | Critical warnings or contraindications | C | -- | --
| 24a | Labeled as containing latex? (Yes/No), | R | Containing Latex | R | Device required to be labeled as containing natural rubber latex or dry natural rubber (21 CFR 801.437). | R
| -- | -- | -- | -- | -- | Device labeled as "Not made with natural rubber latex" | O
| 24c | Labeled as MRI compatible? (Yes/No) | R | -- | -- | What MRI safety information does the labeling contain? | R
| -- | -- | -- | CMR | C | -- | --
| -- | -- | -- | Endocrine disruptor | C | -- | --
| 24b | Labeled as containing DEHP? (Yes/No) | R | -- | -- | -- | --
| 21 | Restricted number of reuses | C | -- | -- | -- | --
| 10 | SAMD Version | R | -- | -- | -- | --
| -- | -- | -- | Specification as to whether the intended purpose of the device is other than a medical purpose | R | -- | --
| -- | -- | -- | Presence of Human tissues and Cells | R | Human Cell, Tissue or Cellular or Tissue-Based Product (HCT/P) | O
|  |  |  | Presence of Animal tissues and Cells | R
| -- | -- | -- | System/Procedure pack or Kit | R | Kit | O
| -- | -- | -- | Information on substances; Substance that may be a medicinal product ; Substance that if used separately may be considered to be a medicinal product derived from human blood or human plasma; | C | Combination Product | O
| -- | -- | -- | -- | -- | Prescription Use (Rx) | O
| -- | -- | -- | -- | -- | Over the Counter (OTC) | O
Licensing, Classification & Nomenclature | 22 | License and/or marketing authorization or registration number (if required by the relevant regulatory authority) | R | -- | -- | -- | --
| 8 | Global Medical Device Nomenclature (GMDN) preferred code/term (valid at the time of UDI submission) | R | -- | -- | GMDN Code | R
| -- | -- | -- | -- | -- | GMDN Name | A
| -- | -- | -- | -- | -- | GMDN Definition | A
| -- | -- | -- | Medical Device Nomenclature Code | R | -- | --
|  |  |  | Medical Device Nomenclature Term | A
| -- | -- | -- | Medical Device Nomenclature Description | A | -- | --
| -- | -- | -- | -- | -- | FDA Product Code | C
| -- | -- | -- | -- | -- | FDA Product Code Name | A
| -- | -- | -- | Risk Class | R | -- | --
| -- | -- | -- | -- | -- | Device Exempt from Premarket Submission | C
| -- | -- | -- | -- | -- | FDA Premarket Submission Number | C
| -- | -- | -- | -- | -- | Supplement Number | C
| -- | -- | -- | -- | -- | FDA Listing Number | C
|  |  |  | Measuring function | R
|  |  |  | Reusable surgical instrument | R
|  |  |  | Active device | R
|  |  |  | Intended to administer/remove a medicinal product | R
| -- | -- | -- | Implantable | R | -- | --
| -- | -- | -- | Intended for self-testing | R | -- | --
| -- | -- | -- | Intended for near-patient testing | R | -- | --
| -- | -- | -- | Companion diagnostic | R | -- | --
Note on A3: Date that this worksheet was updated by or on behalf of a jurisdiction represented